## Table 1
EQUIPMENT MASTER LIST (Updated as of 03-Jul-2024) QC Department
Ref. No. | Equipment | Model | Serial No. | Cal. Date | Due Date | Cal. agent | Location | Report No. | QR
QE 01G1 | Gas Flowmeter C/W Digital Panel Meter | VIC-D240 & GA4-S01-D-N | D24017B24032 & 1007-0004005 | 2024-07-03 | 2025-07-04 | In-house | FRT test area | QE01-003072 | #VALUE!
QE 01G2 | Gas Flowmeter C/W Digital Panel Meter | VIC-D240 & GA4-S01-D-N | D24021309056 & 1007-0004011 | 2024-07-03 | 2025-07-04 | In-house | FRT test area | QE01-0030724G2 | #VALUE!
QE 01A1 | Air Flowmeter C/W Digital Panel Meter | TSC-245 & GA4-S01-D-N | 424516612014 & 1007-0004020 | 2024-07-03 | 2025-07-03 | In-house | FRT test area | QE01-0030724A1 | #VALUE!
QE 01A2 | Air Flowmeter C/W Digital Panel Meter | TSC-245 & GA4-S01-D-N | D24023524051 & 1007-0004013 | 2024-07-03 | 2025-07-03 | In-house | FRT test area | QE01-0030724A2 | #VALUE!
QE 02 | Air Blower | DB-230 | JD07004-1013 | 2024-07-03 | 2025-07-03 | In-house | FRT test area | QE02-030724 | #VALUE!
QE 03 | Tensile Tester | BSS-500kg | 7H2110500004681 | 2023-03-01 | 2025-02-28 | Bestlabs | QC lab | BLS2301336-1S | #VALUE!
QE 04 | Water- Bath 3 | GEWISS | GW44218 | 2024-02-14 | 2025-02-14 | In-house | HV area | QE04-140224 | #VALUE!
QE 05 | Electronic Weighing Balance | FA1204B | 401010035982 | 2024-03-26 | 2026-03-26 | Setsco | QC lab | CM-306301/10/1 | #VALUE!
QE 06 | High Voltage Insulation Tester Hioki | 3455 | 140213743 | 2023-11-10 | 2025-11-09 | Bestlabs | HV test area | BLE2308327-1S | #VALUE!
QE 07 | Digimatic Caliper | CD-6"CSX | 500-196-20 | 2024-06-12 | 2025-06-12 | In-house | QC lab | QE07-120624 | #VALUE!
QE 08 | External Micrometer | 102-119 | 519203 | 2023-09-13 | 2024-09-13 | In-house | QC lab | QE08-130923 | #VALUE!
QE 09 | External Micrometer | 102-119 | 1046659 | 2024-05-20 | 2025-05-20 | In-house | QC lab | QE09-200524 | #VALUE!
QE 10 | Tube Micrometer | 115-215 | 7055051 | 2023-09-13 | 2024-09-13 | Metrix Precision | QC lab | QE10-130923 | #VALUE!
QE 11 | iiM AG Profile Projector | VCPX5 | VCPX514008037 | 2024-08-20 | 2025-08-20 | In-house | QC lab | QE11-200824 | #VALUE!
QE 12 | Thermal Anemometer | AN100 | 190510091 | 2023-06-30 | 2025-06-30 | Caltek | QC lab | CMS 1474M-23 | #VALUE!
QE 13 | Resistance meter | PC57 | 49464 | 2022-09-19 | 2024-09-19 | Caltek | QC lab | CES-111-1687-22 | #VALUE!
QE 14 | LCR HiTester | 3511-50 | 120704943 | 2023-02-22 | 2025-02-21 | Bestlabs | QC lab | BLE2301094-1S | #VALUE!
QE 15 | Multilogger thermometer /w immersion probe & bead wire probe | 806AW | 120011 | 2024-03-30 | 2025-03-30 | In-house | QC lab | QE15A-300324 QE15B-300324 | #VALUE!
QE 16 | TRUE RMS Digital Multimeter | UT139C | H145754827 | 2022-09-19 | 2024-09-19 | Caltek | QC lab | CES-111-1686-22 | #VALUE!
QE 17 | Fluke High Voltage (HV) Probe | 80K-40 | E17 | 2022-05-06 | 2025-05-06 | Caltek | QC lab | CES 1199M-22 | #VALUE!
QE18 | Natural air-flow Oven | XG-CN3 | 1806028 | 2024-08-02 | 2025-08-02 | In-house | Ageing test area | QE18-020824 | #VALUE!
QE19 | High Voltage Insulation HiTester-Hioki | 3455 | 120507982 | 2023-06-06 | 2025-06-06 | Caltek | QC lab | CES-1233M-23 | #VALUE!
QE 20 | Withstand Voltage Tester Cat.CZ | FR Tester(V2.0) | - | 2023-11-17 | 2024-11-17 | In-house | FR test area | QE20-171123 | #VALUE!
QE 21 | Withstand Voltage Tester Cat.W | FR Tester(V2.0) | - | 2023-11-17 | 2024-11-17 | In-house | FR test area | QE21-171123 | #VALUE!
QE 22 | Digital Multimeter Hioki | DT4256 | 180542543 | 2023-02-20 | 2025-02-19 | Bestlabs | QC lab | BLE2301094-2S | #VALUE!
QE 23 | Natural air-flow oven | XG-CN2 | 1805061 | 2024-08-02 | 2025-08-02 | In-house | Ageing test area | QE23-020824 | #VALUE!
QE24 | Durometer | GS-709N(TYPE A) | 11584 | 2023-12-28 | 2025-12-28 | Setsco | QC lab | CM-2924/30/01 | #VALUE!
QE 25 | External Micrometer | 102-119 | 8128845 | 2024-03-27 | 2025-03-27 | In-house | QC lab | QE25-270324 | #VALUE!
QE 26 | Digimatic Caliper | CD-6"CSX | 10245994 | 2023-05-30 | 2025-05-30 | Metrix Precision | QC lab | MD 2591M-23 | #VALUE!
QE 27 | Water Bath 2 | ELDON | AM0302520 | 2024-06-09 | 2025-06-09 | In-house | HV area | QE27-090624 | #VALUE!
QE 28 | AC/DC Withstanding Voltage Tester Kikusui | TOS5301 | UG000301 | 2023-09-07 | 2025-09-07 | Caltek | QC lab | CES 1350M-23 | #VALUE!
QE 29 | Gas Flowmeter C/W Digital Panel Meter | VIC D240 & GA4-S01-D-N | D24023625007 & 1007-0004009 | 2023-11-17 | 2024-11-17 | In-house | FR test area | QE29-171123G | #VALUE!
QE 29 | Air Flowmeter C/W Digital Panel Meter | VIC D240 & GA4-S01-D-N | D24017B24031 & 1007-0004004 | 2023-11-17 | 2024-11-17 | In-house | FR test area | QE29-171123A | #VALUE!
QE 30 | Furnace Quantum | TR120 | 306214 | 2024-08-02 | 2025-08-02 | In-house | Ageing test area | QE30-020825 | #VALUE!
QE31 | Flexible Cable Flexing Tester | ZLT-QL1A | QL011404 | 2024-07-18 | 2025-07-18 | In-house | QC lab | QE31-180724 | #VALUE!
QE 33 | Leakage Current Tester | 2433 | 8213774 | 2022-09-19 | 2024-09-19 | Caltek | QC lab | CES-111-1688-22 | #VALUE!
QE 34 | Overlay Chart No.16 | 512071 | - | 2022-11-04 | 2024-11-03 | Bestlabs | QC lab | BLD2207482-1S | #VALUE!
QE35 | Stopwatch Casio | HS-3 | 511Q05R | 2024-01-16 | 2026-01-16 | Setsco | QC lab | CM-295936/10/1 | #VALUE!
QE36 | Thermohygrometer | JTC-1 | THC1633 | 2024-01-17 | 2025-01-17 | Setsco | QC lab | CM-295936/20/1 | #VALUE!
QE38 | PI Tape | 0.02mm | 187002 | 2024-08-05 | 2025-08-05 | In-house | QC lab | QE38-050823 | #VALUE!
QE40 | Brand gauge block | Grade 0 | 163259 | 2024-01-12 | 2026-01-12 | Setsco | QC lab | CM-8500295936/HKL/30/1 | #VALUE!
QE42 | Insulation Tester Calibration Box- Megger | CB101 | 101616664 | 2024-04-07 | 2025-04-07 | In-house | QC lab | QE42-070424 | #VALUE!
QE43 | Diameter tape | JC15 | 121146 | 2024-05-24 | 2025-05-24 | In-house | QC lab | QE43-240524 | #VALUE!
QE44 | AHD8-50KVA High Voltage Tester | AHD8-50KVA | 20171502 | 2023-10-10 | 2024-10-10 | In-house | HV test area | QE44-101023 | #VALUE!
QE45 | Electronic Weighing Balance | JJ3000B | 243017060109 | 2024-03-26 | 2026-03-26 | Setsco | QC lab | CM-306301/20/1 | #VALUE!
QE46 | Digital caliper | CD-6"CSX | B17326924 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE46-12022024 | #VALUE!
QE47 | Digital caliper | CD-6"CSX | B17326971 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE47-12022024 | #VALUE!
QE48 | External micrometer | 102-119 | 8128847 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE48-12022024 | #VALUE!
QE49 | External micrometer | 102-119 | 8128849 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE49-12022024 | #VALUE!
QE50 | External micrometer | 102-119 | 8128855 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE50-12022024 | #VALUE!
QE51 | Tube micrometer | 115-215 | 8128851 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE51-12022024 | #VALUE!
QE52 | Tube micrometer | 115-215 | 8128853 | 2024-02-12 | 2025-02-12 | In-house | QC lab | QE52-12022024 | #VALUE!
QE53 | DSX-8000 Copper Module | DSX-8000 | 1727002 | 2022-07-08 | 2025-07-08 | Fluke | QC lab | 2725324-1 | #VALUE!
QE54 | DSX-8000 Copper Module | DSX-8000 | 1726107 | 2022-07-08 | 2025-07-08 | Fluke | QC lab | 2725324-2 | #VALUE!
QE55 | Digimatic Micrometer - Vogel | 231061 | GM51844 | 2023-09-05 | 2025-09-05 | Metrix Precision | QC lab | MD 3531M-23 | #VALUE!
QE56 | Digimatic Caliper - Vogel | 202160-2 | 20010489 | 2023-09-05 | 2025-09-05 | Metrix Precision | QC lab | MD 3532M-23 | #VALUE!
QE58 | Digital Micrometer - Rexbeti | 0-25mm 0.001mm | X00221O28H | 2023-08-31 | 2024-08-31 | In-house | QC lab | QE58-310823 | #VALUE!
QE59 | Digital Caliper - Rexbeti | 0-150mm 0.01mm | X001QG7BX7 | 2023-08-31 | 2024-08-31 | In-house | QC lab | QE59-310823 | #VALUE!
QE60 | Steel Ruler | Endo Keiki | SN5838 | 2023-09-05 | 2025-09-05 | Metrix Precision | QC lab | MD 3533M-23 | #VALUE!
QE61 | Air & Gas Flowmeter- Single vertical | LZB-6WB LZB-3WB | MC 04000111 | 2023-12-28 | 2025-12-28 | Setsco | FRT test area | CM-292429/10/01 CM-292429/20/01 | #VALUE!
QE62 | Digital Thickness Gauge (547-360) | ID-C012NX | 22331542 | 2024-01-10 | 2025-01-10 | In-house | QC lab | QE62-100124 | #VALUE!
QE63 | Vacuum drying oven | DZF-6020 | 4008-111-900 | 2023-10-16 | 2024-10-16 | In-house | QC lab | QE63-161023 | #VALUE!
QE64 | Vacuum gauge | - | 5810013 | 2023-02-17 | 2025-02-16 | Bestlabs | QC lab | BLP2301094-3S | #VALUE!
QE65 | Resistance meter - Hioki | RM3544 | 180924505 | 2023-04-06 | 2025-04-05 | Bestlabs | QC lab | BLE2302293-1S | #VALUE!
QE66 | Data Logger Thermometer C/W Type K Probe FR Φ1.5mm & Φ3.2mm | TM-947SD | I.455235, S7931, S8365 | 2023-01-18 | 2025-01-18 | Caltek | FR test area | CTS 1060M-23 | #VALUE!
QE66 | Data Logger Thermometer C/W Type K Probe FR Φ1.5mm & Φ1.5mm | TM-947SD | I.455235, S8366, S8367 | 2023-11-16 | 2025-11-15 | Bestlabs | FR test area | BLT2308327-3S | #VALUE!
QE67 | AHDZ-30KVA High Voltage Tester | AHDZ-30KVA/15kV/7.5kV | 20191503 | 2024-02-18 | 2025-02-18 | In-house | HV test area | QE67-180224 | #VALUE!
QE68 | Natural air-flow Oven | XG-CN3 | 1912096 | 2024-01-19 | 2025-01-19 | In-house | Ageing test area | QE68-190124 | #VALUE!
QE69 | Natural air-flow Oven | XG-CN3 | 2001016 | 2024-01-19 | 2025-01-19 | In-house | Ageing test area | QE69-190124 | #VALUE!
QE70 | Mark-10 Tensile Machine (Load Cell) | Mark-10 Series 5 | 4113907 | 02-08-2024 | 02-08-2026 | Ming Deng | QC lab | MDF240343-1 | #VALUE!
QE71 | Water Bath With Thermostatic Control | HW-II | 3196 | 2024-01-10 | 2025-01-10 | In-house | IR test area-level 2 | QE71-100124 | #VALUE!
QE72 | Data Logger Thermometer C/W Type K Probe Φ3.20mm & Φ3.2mm | TM-947SD | I.575167, S7932, S7933 | 2023-01-06 | 2025-01-06 | Caltek | QC lab | CTS 1023M-23 | #VALUE!
QE72 | Data Logger Thermometer C/W Copper Block Probe - FRT single vertical | TM-947SD | I.575167, copper block | 2023-12-12 | 2025-12-12 | Setsco | QC lab | CM-292429/40/01 | #VALUE!
QE73 | Water Bath With Thermostatic Control | HW-II | 6710 | 2023-09-10 | 2024-09-10 | In-house | IR test area-level 2 | QE73-100923 | #VALUE!
QE74 | LCR Meter - RS Pro | LCR-6002 | 241B033G2 | 2023-11-10 | 09-011-2025 | Bestlabs | HV test area | BLE2308327-2S | #VALUE!
QE75 | Digimatic Micrometer - Mitutoyo MDQ- 30MX | 293-666-20 | 61085547 | 2023-11-23 | 2024-11-23 | Ming Deng | QC lab | MDL233275-1 | #VALUE!
QE76 | Digital Thickness Gauge (SYATEK) | 0-12.7mm/0.5" 0.01mm/0.0005" | SYA2401121734 | 2024-02-20 | 2025-02-20 | In-house | QC lab | QE76-200224 | #VALUE!
QE77 | Digital Thickness Gauge (SYATEK) | 0-25.4mm/1" 0.001mm/0.00005" | SYA231144074 | 2024-02-20 | 2025-02-20 | In-house | QC lab | QE77-200224 | #VALUE!
QE78 | Digital Micrometer (Vogel) | 0-25mm 0.001mm | JE53965 | 2024-02-20 | 2025-02-20 | In-house | QC lab | QE78-200224 | #VALUE!
QE79 | Electronic Weighing Balance | - | 1901028005 | 2024-03-26 | 2026-03-26 | Setsco | Production | CM-306301/30/1 | #VALUE!
QE80 | Cable Abrasion Test Machine | ZLT-CAS1 | CAS2101 | 2024-04-19 | 2025-04-19 | In-house | QC lab | QE80-190424 | #VALUE!